## Sheet1
Extended UDT | Ignition Name | Data Type | Atomic Type | Sample UDT Instance Name | Sample PLC Tag | Template Strategy | Parameter 1 | Parameter 2 | Parameter 3 | Parameter 4 | Overwrite Option
TOTALFLOWG4/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.8:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_BSW | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.7:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_AIR_PSI | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.10:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_OIL_TEMP | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.12:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.14:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.16:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | SUMP_SWITCH | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.18:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.20:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_HEARTBEAT | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.22:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_STATUS | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.23:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.24:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.25:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | LEL_HI | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.28:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.29:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.31:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.33:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | LIVE_DENSITY_READING | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.35:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.50:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_LEL | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.51:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.52:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CORIOLIS_PRESSURE | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.1:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | DIVERT_VALVE_STATUS | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.53:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.54:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | BULK_TANK_PRESSURE | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.2:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | NUM_BSW_SHUTDOWNS_TODAY | Integer | extension | 050510004_M1_ALARM | ns=2;s=9.12.38:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_5_MIN_BYPASS_ENABLE | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.39:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_HH | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.32:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.5:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_TOTAL | Float | extension | 050510004_M1_ALARM | ns=2;s=9.12.6:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_FLOW_RATE | Float | extension | 050510004_M1_ALARM | ns=2;s=9.6.33:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | RESET_ALL_ALARMS | Boolean | extension | 050510004_M1_ALARM | ns=2;s=9.12.36:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | HOT_POCKET_ALARM | Boolean | extension | 050510106_M1_ALARM | ns=2;s=9.12.40:UI1<I1>
TOTALFLOWG4/METER_OIL_STD | TEMPERATURE | Float | opc | 050510004_M1 | ns=2;s=9.12.12:R4<I1>
TOTALFLOWG4/METER_OIL_STD | DISCHARGE_PRESSURE | Float | extension | 050510004_M1 | ns=2;s=9.12.16:R4<I1>
TOTALFLOWG4/METER_OIL_STD | PERMISSIVE | Boolean | extension | 050510004_M1 | ns=2;s=9.12.24:UI1<I1>
TOTALFLOWG4/METER_OIL_STD | DENSITY | Float | opc | 050510004_M1 | ns=2;s=9.12.35:R4<I1>
TOTALFLOWG4/METER_OIL_STD | PRESSURE | Float | extension | 050510004_M1 | ns=2;s=9.12.1:R4<I1>
TOTALFLOWG4/METER_OIL_STD | DRIVE_GAIN | Float | extension | 050510004_M1 | ns=2;s=9.12.5:R4<I1>
TOTALFLOWG4/METER_OIL_STD | RATE | Float | opc | 050510004_M1 | ns=2;s=9.6.32:R4<I1>
TOTALFLOWG4/METER_OIL_STD | RATE_GSV | Float | extension | 050510004_M1 | ns=2;s=9.6.33:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY | Float | opc | 050510004_M1 | ns=2;s=9.6.42:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY_GSV | Float | extension | 050510004_M1 | ns=2;s=9.6.43:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH | Float | opc | 050510004_M1 | ns=2;s=9.6.47:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH_GSV | Float | extension | 050510004_M1 | ns=2;s=9.6.48:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP | Float | opc | 050510004_M1 | ns=2;s=9.6.51:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP_GSV | Float | extension | 050510004_M1 | ns=2;s=9.6.52:R4<I1>
TOTALFLOWG4/METER_OIL_STD | SHRINK | Float | extension | 050510004_M1 | ns=2;s=9.11.97:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_GAL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.61:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_CC | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.62:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.63:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | BARRELS_PER_DAY | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.64:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | Integer | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.65:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.66:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.67:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.68:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.0.14:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.69:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.70:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.71:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.72:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.73:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.74:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.75:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.76:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.77:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.78:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.79:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.80:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.84:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.81:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.82:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.83:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.85:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YEST_TOTAL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.86:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.87:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | Float | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.88:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | Boolean | extension | 050510004_M1_SAMPLER | ns=2;s=9.12.89:UI1<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_01 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.0:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_FIRST_IN | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.0:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_02 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.1:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_03 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.2:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_04 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.3:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_05 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.4:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_06 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.5:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_07 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.6:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_08 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.7:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_09 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.8:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_10 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.9:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_11 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.10:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_12 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.11:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_13 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.12:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_14 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.13:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_15 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.14:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_16 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.15:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_17 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.16:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_18 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.17:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_19 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.18:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_20 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.19:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_21 | String | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.8.20:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_01 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.0:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_02 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.1:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_03 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.2:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_04 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.3:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_05 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.4:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_06 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.5:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_07 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.6:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_08 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.7:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_09 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.8:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_10 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.9:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_11 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.10:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_12 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.11:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_13 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.12:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_14 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.13:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_15 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.14:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_16 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.15:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_17 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.16:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_18 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.17:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_19 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.18:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_20 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.19:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_21 | DateTime | extension | 050510004_M1_SHUTDOWN | ns=2;s=50.9.20:Time<I1>
EMERSONROCL/METER_GAS_STD | RATE | Float | opc | A09G59_M1 | ns=2;s=10.3:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY | Float | opc | A09G59_M1 | ns=2;s=10.4:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_TODAY | Float | opc | A09G59_M1 | ns=2;s=10.5:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_TODAY | Float | extension | A09G59_M1 | ns=2;s=10.6:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_YESTERDAY | Float | opc | A09G59_M1 | ns=2;s=10.7:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_YESTERDAY | Float | opc | A09G59_M1 | ns=2;s=10.8:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | STATIC_PRESSURE | Float | opc | A09G59_M1 | ns=2;s=10.1:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | TEMPERATURE | Float | opc | A09G59_M1 | ns=2;s=10.2:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | DIFFERENTIAL_PRESSURE | Float | opc | A09G59_M1 | ns=2;s=10.0:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLTAGE | Float | extension | A100G46_M2 | ns=2;s=3.14:66<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CURRENT_HOUR | Integer | extension | A100G46_M2 | ns=2;s=12.2:1<TUINT8><I1>
EMERSONROCL/METER_GAS_STD | CURRENT_MINUTE | Integer | extension | A101G54_M1 | ns=2;s=12.1:1<TUINT8><I1>
EMERSONROCL/METER_GAS_STD | RATE_CONDENSATE | Float | extension | A110G45_M1 | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_MONTH | Float | extension | A110G45_M1 | ns=2;s=204.135:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_MONTHP | Float | extension | A110G45_M1 | ns=2;s=204.141:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_YESTERDAY | Float | extension | A110G45_M1 | ns=2;s=204.129:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | Float | extension | A117G45_M1 | ns=2;s=110.11:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VALVE_POSITION | Float | extension | A117G45_M1 | ns=2;s=110.37:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | BTU | Float | opc | A182G45_M2 | ns=2;s=112.22:1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | INLET_PRESSURE | Float | extension | A27G50_M1 | ns=2;s=103.21:48<TFLP><I1>
EMERSONROCL/DEVICE_STD | BATTERY_VOLTAGE | Float | opc | A09G59 | ns=2;s=52.1:1<TFLP><I1>
EMERSONROCL/DEVICE_STD | CURRENT_HOUR | Integer | extension | A09G59 | ns=2;s=12.2:1<TUINT8><I1>
EMERSONROCL/DEVICE_STD | RTU_BOARD_TEMPERATURE | Float | extension | A09G59 | ns=2;s=52.3:1<TFLP><I1>
EMERSONROCL/DEVICE_STD | CURRENT_MINUTE | Integer | extension | A09G59 | ns=2;s=12.1:1<TUINT8><I1>
EMERSONROCL/DEVICE_STD | ESD_STATUS | Integer | extension | A80G62 | ns=2;s=1.2:19<TUINT8><I1>
EMERSONROCL/DEVICE_STD | TEMPERATURE | Float | extension | A98G45 | ns=2;s=98.3:3<TFLP><I1>
EMERSONROCL/DEVICE_STD | AIR_SUPPLY_PRESSURE_ALARM | Boolean | extension | A10G32 | ns=2;s=98.1:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | BACK_PRESSURE_ALARM | Boolean | extension | A10G32 | ns=2;s=98.10:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | COMM_FAIL_TO_RTU | Boolean | extension | A10G32 | ns=2;s=98.11:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_OPEN | Boolean | extension | A10G32 | ns=2;s=98.12:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_CLOSED | Boolean | extension | A10G32 | ns=2;s=98.13:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | BSW_ACCUM_ALARM | Boolean | extension | A10G32 | ns=2;s=98.14:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | OIL_TEMP_ALARM | Boolean | extension | A10G32 | ns=2;s=98.2:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | PIPELINE_PRESSURE_ALARM | Boolean | extension | A10G32 | ns=2;s=98.3:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | MEASUREMENT_SKID_SUMP | Boolean | extension | A10G32 | ns=2;s=98.4:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | PRODUCTION_PERMISSIVE | Boolean | extension | A10G32 | ns=2;s=98.5:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | ROC_LOW_VOLTAGE_ALARM | Boolean | extension | A10G32 | ns=2;s=98.6:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | NO_FLOW_ALARM | Boolean | extension | A10G32 | ns=2;s=98.7:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | OIL_DENSITY_ALARM | Boolean | extension | A10G32 | ns=2;s=98.8:2<TBIN><I1>
EMERSONROCL/DEVICE_STD | DRIVE_GAIN_ALARM | Boolean | extension | A10G32 | ns=2;s=98.9:2<TBIN><I1>
EMERSONROCL/VALVE | REVERSE_FLOW | Float | extension | A100G55_SDV | ns=2;s=17.15:1<TFLP><I1>
EMERSONROCL/VALVE | VOLTAGE | Float | extension | A100G55_SDV | ns=2;s=17.3:2<TFLP><I1>
EMERSONROCL/VALVE | VALVE_STATUS | Integer | extension | A117G45_A1 | ns=2;s=102.24:49<TUINT8><I1>
EMERSONROCL/METER_O2 | VOLUME_YESTERDAY | Float | extension | A100G55_A1 | ns=2;s=10.7:1<TFLP><I1>
EMERSONROCL/METER_O2 | LIQUID_DETECTED | Boolean | extension | A10G47_A2 | ns=2;s=17.6:4<TBIN><I1>
EMERSONROCL/METER_O2 | O2_PPM | Float | extension | A117G45_A1 | ns=2;s=103.21:25<TFLP><I1>
EMERSONROCL/METER_O2 | PRESSURE | Float | extension | A117G45_A1 | ns=2;s=103.21:42<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HELIUM_PRESSURE_1 | Float | extension | A101G45_GC1 | ns=2;s=98.1:14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HELIUM_PRESSURE_2 | Float | extension | A101G45_GC1 | ns=2;s=98.2:14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | CALIBRATION_GAS_PRESSURE | Float | extension | A101G45_GC1 | ns=2;s=98.3:14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ETHANE | Float | extension | A108G45_GC | ns=2;s=112.29:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PROPANE | Float | extension | A108G45_GC | ns=2;s=112.30:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_BUTANE | Float | extension | A108G45_GC | ns=2;s=112.32:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | BUTANE | Float | extension | A108G45_GC | ns=2;s=112.31:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_PENTANE | Float | extension | A108G45_GC | ns=2;s=112.34:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PENTANE | Float | extension | A108G45_GC | ns=2;s=112.33:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HEXANE | Float | extension | A108G45_GC | ns=2;s=112.35:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | METHANE | Float | extension | A108G45_GC | ns=2;s=112.28:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | CARBON_DIOXIDE | Float | extension | A108G45_GC | ns=2;s=112.27:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | BTU | Float | extension | A108G45_GC | ns=2;s=112.22:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | NITROGEN | Float | extension | A108G45_GC | ns=2;s=112.26:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | SPECIFIC_GRAVITY | Float | extension | A108G45_GC | ns=2;s=112.23:1<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | WOBBE_INDEX | Float | extension | A174G52_GC6 | ns=2;s=98.14:13<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | H2S | Float | extension | A218G55_M1 | ns=2;s=17.2:8<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH_GSV | Float | extension | A102G45_M1 | ns=2;s=204.135:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP_GSV | Float | extension | A102G45_M1 | ns=2;s=204.141:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | NGL_RATE | Float | extension | A102G45_M1 | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | RATE_GSV | Float | extension | A102G45_M1 | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY_GSV | Float | extension | A102G45_M1 | ns=2;s=204.129:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DENSITY | Float | opc | A102G45_M1 | ns=2;s=204.21:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH | Float | opc | A102G45_M1 | ns=2;s=204.136:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP | Float | opc | A102G45_M1 | ns=2;s=204.142:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | RATE | Float | opc | A102G45_M1 | ns=2;s=204.106:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_TODAY | Float | opc | A102G45_M1 | ns=2;s=204.124:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY | Float | opc | A102G45_M1 | ns=2;s=204.130:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PRESSURE | Float | extension | A102G45_M1 | ns=2;s=204.33:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | TEMPERATURE | Float | opc | A102G45_M1 | ns=2;s=204.34:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_MODE | Boolean | extension | A111G32_M1 | ns=2;s=110.22:1<TBIN><I1>
EMERSONROCL/METER_OIL_STD | VALVE_POSITION | Float | extension | A111G32_M1 | ns=2;s=110.37:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | Float | extension | A111G32_M1 | ns=2;s=110.11:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_CV_READ | Float | extension | A111G32_STATION | ns=2;s=110.37:3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_TARGET_SP_PRIMARY | Float | extension | A111G32_STATION | ns=2;s=110.11:3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | MASS_RATE | Float | extension | A111G32_M4 | ns=2;s=204.108:4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | ACCUMULATOR_OIL | Float | extension | A111G32_M4 | ns=2;s=204.148:4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DISCHARGE_PRESSURE | Float | extension | A111G46_M1 | ns=2;s=103.21:90<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DRIVE_GAIN | Float | extension | A129G46_M1 | ns=2;s=98.6:7<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PERMISSIVE | Boolean | extension | A129G46_M1 | ns=2;s=101.3:63<TBIN><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTH | Float | extension | A171G45_M4 | ns=2;s=204.135:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTHP | Float | extension | A171G45_M4 | ns=2;s=204.141:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_RATE | Float | extension | A171G45_M4 | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_YESTERDAY | Float | extension | A171G45_M4 | ns=2;s=204.129:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_PRESSURE | Float | extension | A208G45_M6 | ns=2;s=204.33:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_TEMPERATURE | Float | extension | A208G45_M6 | ns=2;s=204.34:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DRIVE_GAIN | Float | extension | A208G45_M6 | ns=2;s=98.6:10<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DENSITY | Float | extension | A208G45_M6 | ns=2;s=202.10:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | STATIC_PRESSURE | Float | opc | A208G45_M6 | ns=2;s=204.33:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | FLOWING_GAS_TEMPERATURE | Float | extension | A208G45_M6 | ns=2;s=204.34:1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLTAGE | Float | extension | A209G45_M1 | ns=2;s=109.12:2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | SAMPLER_VOLUME | Float | extension | A54G30_M1_101 | ns=2;s=98.5:30<TFLP><I1>
EMERSONROCL/METER_OIL_STD | INSTRUMENT_AIR | Float | extension | A100G32_M1_101 | ns=2;s=103.21:41<TFLP><I1>
EMERSONROCL/METER_OIL_STD | SUCTION_PRESSURE | Float | extension | A100G32_M1_101 | ns=2;s=98.1:8<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CORIOLIS_PRESSURE_SCANNING | Boolean | extension | A100G32_M1_101 | ns=2;s=103.2:33<TBIN><I1>
EMERSONROCL/METER_OIL_STD | TEMPERATURE_SCANNING | Boolean | extension | A100G32_M1_101 | ns=2;s=103.2:34<TBIN><I1>
EMERSONROCL/METER_OIL_STD | PIPELINE_PRESSURE_SCANNING | Boolean | extension | A100G32_M1_101 | ns=2;s=103.2:36<TBIN><I1>
EMERSONROCL/METER_OIL_STD | SKIN_TEMPERATURE | Float | extension | A10G32_M1_101 | ns=2;s=98.3:7<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PIPEPLINE_CONDENSATE_PRESSURE | Float | extension | A110G32_M1_101 | ns=2;s=103.21:41<TFLP><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_02 | Boolean | extension | A10G47_SD2 | ns=2;s=17.2:4<TBIN><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_03 | Boolean | extension | A10G47_SD2 | ns=2;s=17.4:4<TBIN><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_04 | Boolean | extension | A10G47_SD2 | ns=2;s=17.6:4<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.11:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | BARRELS_PER_DAY | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.16:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | Integer | extension | A111G46_M1_SAMPLER | ns=2;s=98.12:30<TUINT8><I1>
EMERSONROCL/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.3:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | Float | extension | A111G46_M1_SAMPLER | ns=2;s=111.5:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.13:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.14:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | Float | extension | A111G46_M1_SAMPLER | ns=2;s=111.4:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.9:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.7:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.8:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.6:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.15:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.5:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.4:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.3:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=98.1:30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=111.0:1<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_DISABLED | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=111.0:1<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | Float | extension | A111G46_M1_SAMPLER | ns=2;s=98.10:30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | Float | extension | A111G46_M1_SAMPLER | ns=2;s=204.141:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | YEST_TOTAL | Float | extension | A111G46_M1_SAMPLER | ns=2;s=204.129:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | Float | extension | A111G46_M1_SAMPLER | ns=2;s=204.135:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | Float | extension | A111G46_M1_SAMPLER | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | Float | extension | A111G46_M1_SAMPLER | ns=2;s=102.9:66<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | Float | extension | A111G46_M1_SAMPLER | ns=2;s=96.2:6<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | Float | extension | A111G46_M1_SAMPLER | ns=2;s=103.21:89<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | Float | extension | A111G46_M1_SAMPLER | ns=2;s=103.21:33<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | Boolean | extension | A111G46_M1_SAMPLER | ns=2;s=102.10:66<TBIN><I1>
EMERSONROCL/TANK | LEVEL | Float | extension | A1G50_T1 | ns=2;s=103.21:67<TFLP><I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | PRESSURE | Float | extension | ALVIN_DECHANT | ns=2;s=47414<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE | Float | extension | ALVIN_DECHANT | ns=2;s=47415<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TANK_LEVEL | Float | extension | ALVIN_DECHANT | ns=2;s=47416<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | VOLTAGE | Float | extension | ALVIN_DECHANT | ns=2;s=47417<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE_ALARM_LOW_LOW | Boolean | extension | ALVIN_DECHANT | ns=2;s=22452<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | LEVEL_ALARM_HIGH_HIGH | Boolean | extension | ALVIN_DECHANT | ns=2;s=22455<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE_ALARM_HIGH_HIGH | Boolean | extension | VALLEY | ns=2;s=22453<I1>
TOTALFLOWG4/METER_GAS_STD | VOLTAGE | Float | extension | DJTEST_M1 | ns=2;s=7.3.5:R4<I1>
TOTALFLOWG4/METER_GAS_STD | STATIC_PRESSURE | Float | opc | DJTEST_M1 | ns=2;s=11.3.0:R4<I1>
TOTALFLOWG4/METER_GAS_STD | TEMPERATURE | Float | opc | DJTEST_M1 | ns=2;s=11.3.3:R4<I1>
TOTALFLOWG4/METER_GAS_STD | RATE | Float | opc | T000003_M1 | ns=2;s=4.7.19:R4<I1>
TOTALFLOWG4/METER_GAS_STD | DIFFERENTIAL_PRESSURE | Float | opc | T000003_M1 | ns=2;s=4.7.0:R4<I1>
TOTALFLOWG4/METER_GAS_STD | CURRENT_HOUR | Integer | extension | T000003_M1 | ns=2;s=0.8.4:UI1<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY | Float | opc | T000003_M1 | ns=2;s=4.7.62:R4<I1>
TOTALFLOWG4/METER_GAS_STD | CURRENT_MINUTE | Integer | extension | T000003_M1 | ns=2;s=0.8.5:UI1<I1>
TOTALFLOWG4/METER_GAS_STD | VOLUME_TODAY | Float | opc | T000003_M1 | ns=2;s=4.7.22:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_TODAY | Float | extension | T000003_M1 | ns=2;s=4.3.98:R4<I1>
TOTALFLOWG4/METER_GAS_STD | VOLUME_YESTERDAY | Float | opc | T000003_M1 | ns=2;s=4.7.23:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_YESTERDAY | Float | opc | T000003_M1 | ns=2;s=4.3.97:R4<I1>
TOTALFLOWG4/VALVE | BATTERY_VOLTAGE | Float | extension | DOT_FCV_1022_8_E | ns=2;s=1.3.5:R4<I1>
TOTALFLOWG4/VALVE | BATTERY_LOW | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.2:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_CLOSED | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.5:UI1<I1>
TOTALFLOWG4/VALVE | STATUS | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.3:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_CLOSE | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.6:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_OPEN | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.7:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_OPENED | Boolean | extension | DOT_FCV_1022_8_E | ns=2;s=9.5.4:UI1<I1>
TOTALFLOWG4/VALVE | PRESSURE | Float | extension | DOT_FCV_1022_8_E | ns=2;s=7.4.2:R4<I1>
TOTALFLOWG4/VALVE | VALVE_STATUS | Integer | extension | T000631_SDV | ns=2;s=7.2.5:UI1<I1>
TOTALFLOWG4/METER_O2 | O2_PPM | Float | extension | T001044_A1 | ns=2;s=1.243.0:R4<I1>
TOTALFLOWG4/METER_O2 | RESET | Boolean | extension | T001338_A1 | ns=2;s=161.3.1:UI1<I1>
TOTALFLOWG4/METER_O2 | PERMISSIVE | Boolean | extension | T001338_A1 | ns=2;s=9.0.18:UI1<I1>
TOTALFLOWG4/METER_O2 | LIQUID_DETECTED | Boolean | extension | T001338_A1 | ns=2;s=9.0.13:UI1<I1>
TOTALFLOWG4/METER_O2 | PRESSURE | Float | extension | T001338_A1 | ns=2;s=241.201.5:R4<I1>
EMERSONROCL/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=98.14:2<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_AIR_PSI | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:41<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_OIL_TEMP | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:34<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:36<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_FLOW_RATE | Float | extension | A100G32_M1_101_ALARM | ns=2;s=204.105:1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | SUMP_SWITCH | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=101.15:59<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | Float | extension | A100G32_M1_101_ALARM | ns=2;s=109.12:2<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_HEARTBEAT | Float | extension | A100G32_M1_101_ALARM | ns=2;s=98.3:8<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_STATUS | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=102.8:65<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=102.8:68<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=98.1:1<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=101.3:57<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_DENSITY_READING | Float | extension | A100G32_M1_101_ALARM | ns=2;s=202.13:1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=101.3:63<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=98.1:3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CORIOLIS_PRESSURE | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:33<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | DIVERT_VALVE_STATUS | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=98.1:3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CYGNET_DISPLAY_TLP | Float | extension | A100G32_M1_101_ALARM | ns=2;s=98.20:1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | BULK_TANK_PRESSURE | Float | extension | A100G32_M1_101_ALARM | ns=2;s=98.1:8<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | Float | extension | A100G32_M1_101_ALARM | ns=2;s=98.6:7<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | BSW_TOTAL | Float | extension | A100G32_M1_101_ALARM | ns=2;s=96.3:2<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_BSW | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | Float | extension | A100G32_M1_101_ALARM | ns=2;s=98.3:5<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | LEL_HI | Boolean | extension | A100G32_M1_101_ALARM | ns=2;s=98.17:2<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:43<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_LEL | Float | extension | A100G32_M1_101_ALARM | ns=2;s=103.21:44<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_TEMP | Float | extension | A126G32_M1_101_ALARM | ns=2;s=103.21:81<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_PERMISSIVE | Boolean | extension | A126G32_M1_101_ALARM | ns=2;s=101.3:63<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_TEMP_LEL | Float | extension | A126G32_M1_101_ALARM | ns=2;s=103.21:82<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_RUN_STATUS | Boolean | extension | A126G32_M1_101_ALARM | ns=2;s=98.2:3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_DIVERT_STATUS | Boolean | extension | A126G32_M1_101_ALARM | ns=2;s=98.2:3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_BSW | Float | extension | A126G32_M1_101_ALARM | ns=2;s=103.21:81<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | MAIN_ESD_FTC | Boolean | extension | A161G32_M1_ALARM | ns=2;s=101.3:57<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_ESD_FTC | Boolean | extension | A161G32_M1_ALARM | ns=2;s=101.3:60<TBIN><I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | RESET | Boolean | extension | 01_20_HUDSON | ns=2;s=HMI_RESET<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_REMAINING | Integer | extension | 01_20_HUDSON | ns=2;s=PIGS_LAUNCHED<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_POSITION | Float | extension | 01_20_HUDSON | ns=2;s=PADDLE_POSITION<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | LAUNCH_FAIL | Boolean | extension | 01_20_HUDSON | ns=2;s=FAILED_LAUNCH_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | EMPTY_BARREL | Boolean | extension | 01_20_HUDSON | ns=2;s=NO_PIGS_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | ESD_SHUTDOWN | Boolean | extension | 01_20_HUDSON | ns=2;s=MESD_1_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | FLOW_INHIBIT_STATUS | Boolean | extension | 01_20_HUDSON | ns=2;s=PIG_INHIBIT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_IN_BARREL_SP | Integer | extension | 01_20_HUDSON | ns=2;s=PIG_COUNT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_HOUR | Integer | extension | 01_20_HUDSON | ns=2;s=AUTO_LAUNCH_HOURS<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_MINUTE | Integer | extension | 01_20_HUDSON | ns=2;s=AUTO_LAUNCH_MINUTES<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | AUTO_MAN | Boolean | extension | 01_20_HUDSON | ns=2;s=HMI_AUTO<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | STATUS | Boolean | extension | 01_20_HUDSON | ns=2;s=LAUNCH_READY<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | PERMISSIVE | Boolean | extension | 01_20_HUDSON | ns=2;s=LAUNCHING<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | TIMER | Integer | extension | 01_20_HUDSON | ns=2;s=LAUNCH_TIMER_HOURS_HMI<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | INHIBIT | Boolean | extension | 01_20_WATTENBERG | ns=2;s=SCADA_LOCKOUT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_STATUS | Integer | extension | 16_19_1410_24_VALVE | ns=2;s=WEST_VALVE_POSITION<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | TIMER | Integer | extension | PIG_FREDRICK | ns=2;s=N7:0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_IN_BARREL_SP | Integer | extension | PIG_FREDRICK | ns=2;s=N7:10<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | AUTO_MAN | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:9/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LAUNCHER_MODE | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:9/1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_HOUR | Integer | extension | PIG_FREDRICK | ns=2;s=N7:12<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_MINUTE | Integer | extension | PIG_FREDRICK | ns=2;s=N7:13<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PERMISSIVE | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:14/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | STATUS | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:4<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LONG_TRIGGER_DOWN_ALARM | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:6/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LONG_TRIGGER_UP_ALARM | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:6/1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | EMPTY_BARREL_SHUTDOWN | Boolean | extension | PIG_FREDRICK | ns=2;s=N7:11/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_REMAINING | Integer | extension | PIG_FREDRICK | ns=2;s=N7:8<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_ALARM | Boolean | extension | PIG_HUDSON | ns=2;s=N7:16/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_COUNTER | Integer | extension | PIG_HUDSON | ns=2;s=N7:17<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | SHORT_TRIGGER_DOWN_ALARM | Boolean | extension | PIG_HUDSON | ns=2;s=N7:6/2<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | SHORT_TRIGGER_UP_ALARM | Boolean | extension | PIG_HUDSON | ns=2;s=N7:6/3<I1>