## Sheet1
Extended UDT | Ignition Name | Data Type | Atomic Type | Sample UDT Instance Name | Sample PLC Tag | Template Strategy | Parameter 1 | Parameter 2 | Parameter 3 | Parameter 4 | Overwrite Option
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_HOUR | Integer | extension | 01_20_HUDSON | AUTO_LAUNCH_HOURS<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_MINUTE | Integer | extension | 01_20_HUDSON | AUTO_LAUNCH_MINUTES<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | TIMER | Integer | extension | 01_20_HUDSON | LAUNCH_TIMER_HOURS_HMI<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | EMPTY_BARREL | Boolean | extension | 01_20_HUDSON | NO_PIGS_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | ESD_SHUTDOWN | Boolean | extension | 01_20_HUDSON | MESD_1_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_IN_BARREL_SP | Integer | extension | 01_20_HUDSON | PIG_COUNT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | AUTO_MAN | Boolean | extension | 01_20_HUDSON | HMI_AUTO<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | RESET | Boolean | extension | 01_20_HUDSON | HMI_RESET<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | LAUNCH_FAIL | Boolean | extension | 01_20_HUDSON | FAILED_LAUNCH_AD.InAlarm<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | FLOW_INHIBIT_STATUS | Boolean | extension | 01_20_HUDSON | PIG_INHIBIT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_REMAINING | Integer | extension | 01_20_HUDSON | PIGS_LAUNCHED<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | PERMISSIVE | Boolean | extension | 01_20_HUDSON | LAUNCHING<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | STATUS | Boolean | extension | 01_20_HUDSON | LAUNCH_READY<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_POSITION | Float | extension | 01_20_HUDSON | PADDLE_POSITION<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | INHIBIT | Boolean | extension | 01_20_WATTENBERG | SCADA_LOCKOUT<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_STATUS | Integer | extension | 16_19_1410_24WELDFIT | WEST_VALVE_POSITION<I1>
TOTALFLOWG4/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | Boolean | extension | 50510004_ALARM | 9:12:8:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_BSW | Float | extension | 50510004_ALARM | 9:12:7:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_AIR_PSI | Float | extension | 50510004_ALARM | 9:12:10:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_OIL_TEMP | Float | extension | 50510004_ALARM | 9:12:12:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | Float | extension | 50510004_ALARM | 9:12:14:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | Float | extension | 50510004_ALARM | 9:12:16:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_FLOW_RATE | Float | extension | 50510004_ALARM | 9:6:33:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | SUMP_SWITCH | Boolean | extension | 50510004_ALARM | 9:12:18:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | Float | extension | 50510004_ALARM | 9:12:20:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_HEARTBEAT | Float | extension | 50510004_ALARM | 9:12:22:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_STATUS | Boolean | extension | 50510004_ALARM | 9:12:23:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | Boolean | extension | 50510004_ALARM | 9:12:24:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | Boolean | extension | 50510004_ALARM | 9:12:25:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | LEL_HI | Boolean | extension | 50510004_ALARM | 9:12:28:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | Float | extension | 50510004_ALARM | 9:12:29:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | Boolean | extension | 50510004_ALARM | 9:12:31:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | Float | extension | 50510004_ALARM | 9:12:33:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | LIVE_DENSITY_READING | Float | extension | 50510004_ALARM | 9:12:35:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | Boolean | extension | 50510004_ALARM | 9:12:50:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_LEL | Float | extension | 50510004_ALARM | 9:12:51:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | Boolean | extension | 50510004_ALARM | 9:12:52:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CORIOLIS_PRESSURE | Float | extension | 50510004_ALARM | 9:12:1:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | DIVERT_VALVE_STATUS | Boolean | extension | 50510004_ALARM | 9:12:53:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | Float | extension | 50510004_ALARM | 9:12:54:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | BULK_TANK_PRESSURE | Float | extension | 50510004_ALARM | 9:12:2:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | NUM_BSW_SHUTDOWNS_TODAY | Integer | extension | 50510004_ALARM | 9:12:38:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_5_MIN_BYPASS_ENABLE | Boolean | extension | 50510004_ALARM | 9:12:39:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_HH | Boolean | extension | 50510004_ALARM | 9:12:32:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | RESET_ALL_ALARMS | Boolean | extension | 50510004_ALARM | 9:12:36:UI1<I1>
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | Float | extension | 50510004_ALARM | 9:12:5:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | BSW_TOTAL | Float | extension | 50510004_ALARM | 9:12:6:R4<I1>
TOTALFLOWG4/METER_OIL_ALARM | HOT_POCKET_ALARM | Boolean | extension | 50510106_ALARM | 9:12:40:UI1<I1>
TOTALFLOWG4/METER_OIL_STD | DRIVE_GAIN | Float | extension | 50510004 | 9:12:5:R4<I1>
TOTALFLOWG4/METER_OIL_STD | RATE | Float | opc | 50510004 | 9:6:32:R4<I1>
TOTALFLOWG4/METER_OIL_STD | DENSITY | Float | opc | 50510004 | 9:12:35:R4<I1>
TOTALFLOWG4/METER_OIL_STD | RATE_GSV | Float | extension | 50510004 | 9:6:33:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH_GSV | Float | extension | 50510004 | 9:6:48:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP_GSV | Float | extension | 50510004 | 9:6:52:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY_GSV | Float | extension | 50510004 | 9:6:43:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH | Float | opc | 50510004 | 9:6:47:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP | Float | opc | 50510004 | 9:6:51:R4<I1>
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY | Float | opc | 50510004 | 9:6:42:R4<I1>
TOTALFLOWG4/METER_OIL_STD | DISCHARGE_PRESSURE | Float | extension | 50510004 | 9:12:16:R4<I1>
TOTALFLOWG4/METER_OIL_STD | PRESSURE | Float | extension | 50510004 | 9:12:1:R4<I1>
TOTALFLOWG4/METER_OIL_STD | SHRINK | Float | extension | 50510004 | 9:11:97:R4<I1>
TOTALFLOWG4/METER_OIL_STD | TEMPERATURE | Float | opc | 50510004 | 9:12:12:R4<I1>
TOTALFLOWG4/METER_OIL_STD | PERMISSIVE | Boolean | extension | 50510004 | 9:12:24:UI1<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_01 | DateTime | extension | 50510004_SHUTDOWN | 50:9:0:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_02 | DateTime | extension | 50510004_SHUTDOWN | 50:9:1:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_03 | DateTime | extension | 50510004_SHUTDOWN | 50:9:2:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_04 | DateTime | extension | 50510004_SHUTDOWN | 50:9:3:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_05 | DateTime | extension | 50510004_SHUTDOWN | 50:9:4:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_06 | DateTime | extension | 50510004_SHUTDOWN | 50:9:5:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_07 | DateTime | extension | 50510004_SHUTDOWN | 50:9:6:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_08 | DateTime | extension | 50510004_SHUTDOWN | 50:9:7:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_09 | DateTime | extension | 50510004_SHUTDOWN | 50:9:8:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_10 | DateTime | extension | 50510004_SHUTDOWN | 50:9:9:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_11 | DateTime | extension | 50510004_SHUTDOWN | 50:9:10:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_12 | DateTime | extension | 50510004_SHUTDOWN | 50:9:11:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_13 | DateTime | extension | 50510004_SHUTDOWN | 50:9:12:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_14 | DateTime | extension | 50510004_SHUTDOWN | 50:9:13:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_15 | DateTime | extension | 50510004_SHUTDOWN | 50:9:14:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_16 | DateTime | extension | 50510004_SHUTDOWN | 50:9:15:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_17 | DateTime | extension | 50510004_SHUTDOWN | 50:9:16:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_18 | DateTime | extension | 50510004_SHUTDOWN | 50:9:17:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_19 | DateTime | extension | 50510004_SHUTDOWN | 50:9:18:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_20 | DateTime | extension | 50510004_SHUTDOWN | 50:9:19:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_TS_21 | DateTime | extension | 50510004_SHUTDOWN | 50:9:20:Time<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_01 | String | extension | 50510004_SHUTDOWN | 50:8:0:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_02 | String | extension | 50510004_SHUTDOWN | 50:8:1:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_03 | String | extension | 50510004_SHUTDOWN | 50:8:2:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_04 | String | extension | 50510004_SHUTDOWN | 50:8:3:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_05 | String | extension | 50510004_SHUTDOWN | 50:8:4:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_06 | String | extension | 50510004_SHUTDOWN | 50:8:5:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_07 | String | extension | 50510004_SHUTDOWN | 50:8:6:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_08 | String | extension | 50510004_SHUTDOWN | 50:8:7:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_09 | String | extension | 50510004_SHUTDOWN | 50:8:8:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_10 | String | extension | 50510004_SHUTDOWN | 50:8:9:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_11 | String | extension | 50510004_SHUTDOWN | 50:8:10:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_12 | String | extension | 50510004_SHUTDOWN | 50:8:11:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_13 | String | extension | 50510004_SHUTDOWN | 50:8:12:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_14 | String | extension | 50510004_SHUTDOWN | 50:8:13:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_15 | String | extension | 50510004_SHUTDOWN | 50:8:14:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_16 | String | extension | 50510004_SHUTDOWN | 50:8:15:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_17 | String | extension | 50510004_SHUTDOWN | 50:8:16:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_18 | String | extension | 50510004_SHUTDOWN | 50:8:17:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_19 | String | extension | 50510004_SHUTDOWN | 50:8:18:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_20 | String | extension | 50510004_SHUTDOWN | 50:8:19:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_21 | String | extension | 50510004_SHUTDOWN | 50:8:20:String<I1>
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_FIRST_IN | String | extension | 50510004_SHUTDOWN | 50:8:0:String<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_GAL | Float | extension | 50510004_SAMPLER | 9:12:61:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_CC | Float | extension | 50510004_SAMPLER | 9:12:62:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | Float | extension | 50510004_SAMPLER | 9:12:63:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | BARRELS_PER_DAY | Float | extension | 50510004_SAMPLER | 9:12:64:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | Integer | extension | 50510004_SAMPLER | 9:12:65:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | Float | extension | 50510004_SAMPLER | 9:12:66:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | Float | extension | 50510004_SAMPLER | 9:12:67:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | Float | extension | 50510004_SAMPLER | 9:12:68:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | Float | extension | 50510004_SAMPLER | 9:0:14:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | Float | extension | 50510004_SAMPLER | 9:12:69:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | Boolean | extension | 50510004_SAMPLER | 9:12:70:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | Boolean | extension | 50510004_SAMPLER | 9:12:71:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | Boolean | extension | 50510004_SAMPLER | 9:12:72:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | Boolean | extension | 50510004_SAMPLER | 9:12:73:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | Boolean | extension | 50510004_SAMPLER | 9:12:74:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | Float | extension | 50510004_SAMPLER | 9:12:75:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | Float | extension | 50510004_SAMPLER | 9:12:76:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | Float | extension | 50510004_SAMPLER | 9:12:77:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | Float | extension | 50510004_SAMPLER | 9:12:78:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | Boolean | extension | 50510004_SAMPLER | 9:12:79:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | Boolean | extension | 50510004_SAMPLER | 9:12:80:UI1<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | Float | extension | 50510004_SAMPLER | 9:12:84:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | Float | extension | 50510004_SAMPLER | 9:12:81:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | Float | extension | 50510004_SAMPLER | 9:12:82:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | Float | extension | 50510004_SAMPLER | 9:12:83:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | Float | extension | 50510004_SAMPLER | 9:12:85:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | YEST_TOTAL | Float | extension | 50510004_SAMPLER | 9:12:86:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | Float | extension | 50510004_SAMPLER | 9:12:87:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | Float | extension | 50510004_SAMPLER | 9:12:88:R4<I1>
TOTALFLOWG4/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | Boolean | extension | 50510004_SAMPLER | 9:12:89:UI1<I1>
EMERSONROCL/DEVICE_STD | BATTERY_VOLTAGE | Float | opc | A09G59 | 52.1.1<TFLP><I1>
EMERSONROCL/DEVICE_STD | CURRENT_HOUR | Integer | extension | A09G59 | 12.2.1<TUINT8><I1>
EMERSONROCL/DEVICE_STD | CURRENT_MINUTE | Integer | extension | A09G59 | 12.1.1<TUINT8><I1>
EMERSONROCL/DEVICE_STD | RTU_BOARD_TEMPERATURE | Float | extension | A09G59 | 52.3.1<TFLP><I1>
EMERSONROCL/DEVICE_STD | AIR_SUPPLY_PRESSURE_ALARM | Boolean | extension | A10G32 | 98.1.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | OIL_TEMP_ALARM | Boolean | extension | A10G32 | 98.2.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | PIPELINE_PRESSURE_ALARM | Boolean | extension | A10G32 | 98.3.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | MEASUREMENT_SKID_SUMP | Boolean | extension | A10G32 | 98.4.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | PRODUCTION_PERMISSIVE | Boolean | extension | A10G32 | 98.5.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | ROC_LOW_VOLTAGE_ALARM | Boolean | extension | A10G32 | 98.6.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | NO_FLOW_ALARM | Boolean | extension | A10G32 | 98.7.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | OIL_DENSITY_ALARM | Boolean | extension | A10G32 | 98.8.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | DRIVE_GAIN_ALARM | Boolean | extension | A10G32 | 98.9.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | BACK_PRESSURE_ALARM | Boolean | extension | A10G32 | 98.10.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | COMM_FAIL_TO_RTU | Boolean | extension | A10G32 | 98.11.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_OPEN | Boolean | extension | A10G32 | 98.12.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_CLOSED | Boolean | extension | A10G32 | 98.13.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | BSW_ACCUM_ALARM | Boolean | extension | A10G32 | 98.14.3<TBIN><I1>
EMERSONROCL/DEVICE_STD | ESD_STATUS | Integer | extension | A192G30 | 101.3.70<TUINT8><I1>
EMERSONROCL/DEVICE_STD | TEMPERATURE | Float | extension | A98G45 | 98.3.3<TFLP><I1>
EMERSONROCL/METER_GAS_STD | RATE | Float | opc | A09G59 | 10.3.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY | Float | opc | A09G59 | 10.4.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_TODAY | Float | extension | A09G59 | 10.6.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_YESTERDAY | Float | opc | A09G59 | 10.8.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_TODAY | Float | opc | A09G59 | 10.5.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_YESTERDAY | Float | opc | A09G59 | 10.7.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | DIFFERENTIAL_PRESSURE | Float | opc | A09G59 | 10.0.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | STATIC_PRESSURE | Float | opc | A09G59 | 10.1.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | TEMPERATURE | Float | opc | A09G59 | 10.2.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLTAGE | Float | extension | A100G46 | 3.14.66<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CURRENT_HOUR | Integer | extension | A100G46 | 12.2.1<TUINT8><I1>
EMERSONROCL/METER_GAS_STD | CURRENT_MINUTE | Integer | extension | A101G54 | 12.1.1<TUINT8><I1>
EMERSONROCL/METER_GAS_STD | RATE_CONDENSATE | Float | extension | A110G45 | 204.105.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_MONTH | Float | extension | A110G45 | 204.135.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_MONTHP | Float | extension | A110G45 | 204.141.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CONDENSATE_VOLUME_YESTERDAY | Float | extension | A110G45 | 204.129.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | Float | extension | A117G45 | 110.11.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VALVE_POSITION | Float | extension | A117G45 | 110.37.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | BTU | Float | opc | A182G45 | 112.22.2<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | Boolean | extension | A100G32_ALARM | 98.14.2<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_BSW | Float | extension | A100G32_ALARM | 103.21.35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_AIR_PSI | Float | extension | A100G32_ALARM | 103.21.41<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_OIL_TEMP | Float | extension | A100G32_ALARM | 103.21.34<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | Float | extension | A100G32_ALARM | 98.3.5<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | Float | extension | A100G32_ALARM | 103.21.36<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_FLOW_RATE | Float | extension | A100G32_ALARM | 204.105.1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | SUMP_SWITCH | Boolean | extension | A100G32_ALARM | 101.15.59<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | Float | extension | A100G32_ALARM | 109.12.2<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_HEARTBEAT | Float | extension | A100G32_ALARM | 98.3.8<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_STATUS | Boolean | extension | A100G32_ALARM | 102.8.65<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | Boolean | extension | A100G32_ALARM | 102.8.68<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | Boolean | extension | A100G32_ALARM | 98.1.1<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | LEL_HI | Boolean | extension | A100G32_ALARM | 98.17.2<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | Float | extension | A100G32_ALARM | 103.21.43<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | Boolean | extension | A100G32_ALARM | 101.3.57<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | Float | extension | A100G32_ALARM | 103.21.35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_DENSITY_READING | Float | extension | A100G32_ALARM | 202.13.1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | Boolean | extension | A100G32_ALARM | 101.3.63<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_LEL | Float | extension | A100G32_ALARM | 103.21.44<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | Boolean | extension | A100G32_ALARM | 98.1.3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | CORIOLIS_PRESSURE | Float | extension | A100G32_ALARM | 103.21.33<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | DIVERT_VALVE_STATUS | Boolean | extension | A100G32_ALARM | 98.1.3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | Float | extension | A100G32_ALARM | 103.21.35<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CYGNET_DISPLAY_TLP | Float | extension | A100G32_ALARM | 98.20.1<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | BULK_TANK_PRESSURE | Float | extension | A100G32_ALARM | 98.1.8<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | Float | extension | A100G32_ALARM | 98.6.7<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | BSW_TOTAL | Float | extension | A100G32_ALARM | 96.3.2<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_TEMP | Float | extension | A126G32_ALARM | 103.21.81<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_PERMISSIVE | Boolean | extension | A126G32_ALARM | 101.3.63<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_TEMP_LEL | Float | extension | A126G32_ALARM | 103.21.82<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_RUN_STATUS | Boolean | extension | A126G32_ALARM | 98.2.3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_DIVERT_STATUS | Boolean | extension | A126G32_ALARM | 98.2.3<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_BSW | Float | extension | A126G32_ALARM | 103.21.81<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | MAIN_ESD_FTC | Boolean | extension | A161G32_ALARM | 101.3.57<TBIN><I1>
EMERSONROCL/METER_OIL_ALARM | TEMP_ESD_FTC | Boolean | extension | A161G32_ALARM | 101.3.60<TBIN><I1>
EMERSONROCL/METER_OIL_STD | DRIVE_GAIN | Float | extension | A100G32 | 98.6.7<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLTAGE | Float | extension | A100G32 | 109.12.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | RATE | Float | opc | A100G32 | 204.106.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DENSITY | Float | opc | A100G32 | 204.21.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | RATE_GSV | Float | extension | A100G32 | 204.105.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH_GSV | Float | extension | A100G32 | 204.135.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP_GSV | Float | extension | A100G32 | 204.141.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY_GSV | Float | extension | A100G32 | 204.129.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH | Float | opc | A100G32 | 204.136.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP | Float | opc | A100G32 | 204.142.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_TODAY | Float | opc | A100G32 | 204.124.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY | Float | opc | A100G32 | 204.130.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | INSTRUMENT_AIR | Float | extension | A100G32 | 103.21.41<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DISCHARGE_PRESSURE | Float | extension | A100G32 | 103.21.36<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PIPELINE_PRESSURE_SCANNING | Boolean | extension | A100G32 | 103.2.36<TBIN><I1>
EMERSONROCL/METER_OIL_STD | PRESSURE | Float | extension | A100G32 | 204.33.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CORIOLIS_PRESSURE_SCANNING | Boolean | extension | A100G32 | 103.2.33<TBIN><I1>
EMERSONROCL/METER_OIL_STD | SUCTION_PRESSURE | Float | extension | A100G32 | 98.1.8<TFLP><I1>
EMERSONROCL/METER_OIL_STD | SAMPLER_VOLUME | Float | extension | A100G32 | 98.5.30<TFLP><I1>
EMERSONROCL/METER_OIL_STD | TEMPERATURE | Float | opc | A100G32 | 204.34.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | TEMPERATURE_SCANNING | Boolean | extension | A100G32 | 103.2.34<TBIN><I1>
EMERSONROCL/METER_OIL_STD | PERMISSIVE | Boolean | extension | A100G32 | 101.3.63<TBIN><I1>
EMERSONROCL/METER_OIL_STD | VALVE_POSITION | Float | extension | A100G32 | 101.3.57<TFLP><I1>
EMERSONROCL/METER_OIL_STD | NGL_RATE | Float | extension | A102G45 | 204.105.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | SKIN_TEMPERATURE | Float | extension | A10G32 | 98.3.7<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DRIVE_GAIN | Float | extension | A110G32 | 98.6.6<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_RATE | Float | extension | A110G32 | 204.105.1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DENSITY | Float | extension | A110G32 | 202.10.1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | MASS_RATE | Float | extension | A110G32 | 204.108.1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTH | Float | extension | A110G32 | 204.135.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_YESTERDAY | Float | extension | A110G32 | 204.129.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_PRESSURE | Float | extension | A110G32 | 204.33.1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PIPEPLINE_CONDENSATE_PRESSURE | Float | extension | A110G32 | 103.21.41<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_TEMPERATURE | Float | extension | A110G32 | 204.34.1<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | Float | extension | A111G32 | 110.11.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_MODE | Boolean | extension | A111G32 | 110.22.2<TBIN><I1>
EMERSONROCL/METER_OIL_STD | ACCUMULATOR_OIL | Float | extension | A111G32 | 204.148.5<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_CV_READ | Float | extension | A111G32 | 110.37.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_TARGET_SP_PRIMARY | Float | extension | A111G32 | 110.11.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTHP | Float | extension | A165G45 | 204.141.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | STATIC_PRESSURE | Float | opc | A178G45 | 204.33.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | FLOWING_GAS_TEMPERATURE | Float | extension | A178G45 | 204.34.2<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | Float | extension | A100G32_SAMPLER | 98.11.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | BARRELS_PER_DAY | Float | extension | A100G32_SAMPLER | 98.16.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | Integer | extension | A100G32_SAMPLER | 98.12.30<TUINT8><I1>
EMERSONROCL/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | Float | extension | A100G32_SAMPLER | 98.3.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | Float | extension | A100G32_SAMPLER | 111.5.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | Float | extension | A100G32_SAMPLER | 98.13.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | Float | extension | A100G32_SAMPLER | 98.14.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | Float | extension | A100G32_SAMPLER | 111.4.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | Boolean | extension | A100G32_SAMPLER | 98.9.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | Boolean | extension | A100G32_SAMPLER | 98.7.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | Boolean | extension | A100G32_SAMPLER | 98.8.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | Boolean | extension | A100G32_SAMPLER | 98.6.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | Boolean | extension | A100G32_SAMPLER | 98.15.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | Float | extension | A100G32_SAMPLER | 98.5.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | Float | extension | A100G32_SAMPLER | 98.4.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | Float | extension | A100G32_SAMPLER | 102.9.66<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | Float | extension | A100G32_SAMPLER | 98.3.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | Boolean | extension | A100G32_SAMPLER | 98.1.30<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | Boolean | extension | A100G32_SAMPLER | 111.0.1<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | Float | extension | A100G32_SAMPLER | 98.10.30<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | Float | extension | A100G32_SAMPLER | 96.2.6<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | Float | extension | A100G32_SAMPLER | 103.21.42<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | Float | extension | A100G32_SAMPLER | 103.21.33<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | Float | extension | A100G32_SAMPLER | 204.141.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | YEST_TOTAL | Float | extension | A100G32_SAMPLER | 204.129.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | Float | extension | A100G32_SAMPLER | 204.135.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | Float | extension | A100G32_SAMPLER | 204.105.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | Boolean | extension | A100G32_SAMPLER | 102.10.66<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_DISABLED | Boolean | extension | A111G46_SAMPLER | 111.0.1<TBIN><I1>
EMERSONROCL/METER_O2 | VOLUME_YESTERDAY | Float | extension | A100G55 | 10.7.1<TFLP><I1>
EMERSONROCL/METER_O2 | LIQUID_DETECTED | Boolean | extension | A10G47 | 17.6.4<TBIN><I1>
EMERSONROCL/METER_O2 | O2_PPM | Float | extension | A117G45 | 103.21.25<TFLP><I1>
EMERSONROCL/METER_O2 | PRESSURE | Float | extension | A117G45 | 103.21.42<TFLP><I1>
EMERSONROCL/VALVE | REVERSE_FLOW | Float | extension | A100G55 | 17.15.1<TFLP><I1>
EMERSONROCL/VALVE | VOLTAGE | Float | extension | A100G55 | 17.3.2<TFLP><I1>
EMERSONROCL/VALVE | VALVE_STATUS | Integer | extension | A117G45 | 102.24.49<TUINT8><I1>
EMERSONROCL/ANALYSIS_STD | CALIBRATION_GAS_PRESSURE | Float | extension | A101G45 | 98.3.14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HELIUM_PRESSURE_1 | Float | extension | A101G45 | 98.1.14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HELIUM_PRESSURE_2 | Float | extension | A101G45 | 98.2.14<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | BTU | Float | extension | A108G45 | 112.22.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | METHANE | Float | extension | A108G45 | 112.28.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ETHANE | Float | extension | A108G45 | 112.29.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PROPANE | Float | extension | A108G45 | 112.30.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HEXANE | Float | extension | A108G45 | 112.35.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | CARBON_DIOXIDE | Float | extension | A108G45 | 112.27.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_BUTANE | Float | extension | A108G45 | 112.32.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_PENTANE | Float | extension | A108G45 | 112.34.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | NITROGEN | Float | extension | A108G45 | 112.26.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | BUTANE | Float | extension | A108G45 | 112.31.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PENTANE | Float | extension | A108G45 | 112.33.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | SPECIFIC_GRAVITY | Float | extension | A108G45 | 112.23.2<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | WOBBE_INDEX | Float | extension | A174G52 | 98.14.13<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | H2S | Float | extension | A218G55 | 17.2.8<TFLP><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_02 | Boolean | extension | A10G47 | 17.2.4<TBIN><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_03 | Boolean | extension | A10G47 | 17.4.4<TBIN><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_04 | Boolean | extension | A10G47 | 17.6.4<TBIN><I1>
EMERSONROCL/TANK | LEVEL | Float | extension | A1G50 | 103.21.67<TFLP><I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | VOLTAGE | Float | extension | ALVIN_DECHANT | 47417<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | LEVEL_ALARM_HIGH_HIGH | Boolean | extension | ALVIN_DECHANT | 22455<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TANK_LEVEL | Float | extension | ALVIN_DECHANT | 47416<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | PRESSURE | Float | extension | ALVIN_DECHANT | 47414<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE_ALARM_LOW_LOW | Boolean | extension | ALVIN_DECHANT | 22452<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE | Float | extension | ALVIN_DECHANT | 47415<I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE_ALARM_HIGH_HIGH | Boolean | extension | VALLEY | 22453<I1>
TOTALFLOWG4/METER_GAS_STD | VOLTAGE | Float | extension | DJTEST | 7:3:5:R4<I1>
TOTALFLOWG4/METER_GAS_STD | STATIC_PRESSURE | Float | opc | DJTEST | 11:3:0:R4<I1>
TOTALFLOWG4/METER_GAS_STD | TEMPERATURE | Float | opc | DJTEST | 11:3:3:R4<I1>
TOTALFLOWG4/METER_GAS_STD | RATE | Float | opc | T000003 | 4:7:19:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY | Float | opc | T000003 | 4:7:62:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_TODAY | Float | extension | T000003 | 4:3:98:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_YESTERDAY | Float | opc | T000003 | 4:3:97:R4<I1>
TOTALFLOWG4/METER_GAS_STD | VOLUME_TODAY | Float | opc | T000003 | 4:7:22:R4<I1>
TOTALFLOWG4/METER_GAS_STD | VOLUME_YESTERDAY | Float | opc | T000003 | 4:7:23:R4<I1>
TOTALFLOWG4/METER_GAS_STD | CURRENT_HOUR | Integer | extension | T000003 | 0:8:4:UI1<I1>
TOTALFLOWG4/METER_GAS_STD | CURRENT_MINUTE | Integer | extension | T000003 | 0:8:5:UI1<I1>
TOTALFLOWG4/METER_GAS_STD | DIFFERENTIAL_PRESSURE | Float | opc | T000003 | 4:7:0:R4<I1>
TOTALFLOWG4/VALVE | BATTERY_VOLTAGE | Float | extension | FCV_1022_8_E_RD | 1:3:5:R4<I1>
TOTALFLOWG4/VALVE | PRESSURE | Float | extension | FCV_1022_8_E_RD | 7:4:2:R4<I1>
TOTALFLOWG4/VALVE | BATTERY_LOW | Boolean | extension | FCV_1022_8_E_RD | 9:5:2:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_CLOSE | Boolean | extension | FCV_1022_8_E_RD | 9:5:6:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_OPEN | Boolean | extension | FCV_1022_8_E_RD | 9:5:7:UI1<I1>
TOTALFLOWG4/VALVE | STATUS | Boolean | extension | FCV_1022_8_E_RD | 9:5:3:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_CLOSED | Boolean | extension | FCV_1022_8_E_RD | 9:5:5:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_OPENED | Boolean | extension | FCV_1022_8_E_RD | 9:5:4:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_STATUS | Integer | extension | T000631 | 7:2:5:UI1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_HOUR | Integer | extension | PIG_FREDRICK | N7:12<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_MINUTE | Integer | extension | PIG_FREDRICK | N7:13<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | TIMER | Integer | extension | PIG_FREDRICK | N7:0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LONG_TRIGGER_DOWN_ALARM | Boolean | extension | PIG_FREDRICK | N7:6/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LONG_TRIGGER_UP_ALARM | Boolean | extension | PIG_FREDRICK | N7:6/1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_IN_BARREL_SP | Integer | extension | PIG_FREDRICK | N7:10<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | AUTO_MAN | Boolean | extension | PIG_FREDRICK | N7:9/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LAUNCHER_MODE | Boolean | extension | PIG_FREDRICK | N7:9/1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_REMAINING | Integer | extension | PIG_FREDRICK | N7:8<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PERMISSIVE | Boolean | extension | PIG_FREDRICK | N7:14/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | EMPTY_BARREL_SHUTDOWN | Boolean | extension | PIG_FREDRICK | N7:11/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | STATUS | Boolean | extension | PIG_FREDRICK | N7:4<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | SHORT_TRIGGER_DOWN_ALARM | Boolean | extension | PIG_HUDSON | N7:6/2<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | SHORT_TRIGGER_UP_ALARM | Boolean | extension | PIG_HUDSON | N7:6/3<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_ALARM | Boolean | extension | PIG_HUDSON | N7:16/0<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_COUNTER | Integer | extension | PIG_HUDSON | N7:17<I1>
TOTALFLOWG4/METER_O2 | O2_PPM | Float | extension | T001044 | 1:243:0:R4<I1>
TOTALFLOWG4/METER_O2 | LIQUID_DETECTED | Boolean | extension | T001338 | 9:0:13:UI1<I1>
TOTALFLOWG4/METER_O2 | PRESSURE | Float | extension | T001338 | 241:201:5:R4<I1>
TOTALFLOWG4/METER_O2 | RESET | Boolean | extension | T001338 | 161:3:1:UI1<I1>
TOTALFLOWG4/METER_O2 | PERMISSIVE | Boolean | extension | T001338 | 9:0:18:UI1<I1>