## Sheet1
Extended UDT | Ignition Name | Checked | Conforming | Nonconformance 1 | Nonconformance 2 | Nonconformance 3 | Nonconformance 4 | Nonconformance 5
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_HOUR | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | CURRENT_MINUTE | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | TIMER | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | EMPTY_BARREL | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | ESD_SHUTDOWN | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_IN_BARREL_SP | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | AUTO_MAN | 10 | 9 | {topic}.SCADA_LAUNCH_MANUAL<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | RESET | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | LAUNCH_FAIL | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | FLOW_INHIBIT_STATUS | 9 | 9
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | NUM_PIGS_REMAINING | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | PERMISSIVE | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | STATUS | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_POSITION | 10 | 10
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | INHIBIT | 1 | 1
ALLEN_BRADLEY/PIG_LAUNCHER_CLX | VALVE_STATUS | 4 | 2 | {topic}.EAST_VALVE_POSITION<I1> | {topic}.VAPOR_VALVE_POSITION<I1>
TOTALFLOWG4/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_BSW | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_AIR_PSI | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_OIL_TEMP | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_FLOW_RATE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | SUMP_SWITCH | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_HEARTBEAT | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_STATUS | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | 332 | 332
TOTALFLOWG4/METER_OIL_ALARM | LEL_HI | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | LIVE_DENSITY_READING | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | PRODUCTION_LEL | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CORIOLIS_PRESSURE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | DIVERT_VALVE_STATUS | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | BULK_TANK_PRESSURE | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | NUM_BSW_SHUTDOWNS_TODAY | 165 | 165
TOTALFLOWG4/METER_OIL_ALARM | BSW_5_MIN_BYPASS_ENABLE | 332 | 332
TOTALFLOWG4/METER_OIL_ALARM | BSW_HH | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | RESET_ALL_ALARMS | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | BSW_TOTAL | 166 | 166
TOTALFLOWG4/METER_OIL_ALARM | HOT_POCKET_ALARM | 1 | 1
TOTALFLOWG4/METER_OIL_STD | DRIVE_GAIN | 166 | 166
TOTALFLOWG4/METER_OIL_STD | RATE | 166 | 166
TOTALFLOWG4/METER_OIL_STD | DENSITY | 166 | 166
TOTALFLOWG4/METER_OIL_STD | RATE_GSV | 291 | 291
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH_GSV | 291 | 291
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP_GSV | 291 | 291
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY_GSV | 291 | 291
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTH | 166 | 166
TOTALFLOWG4/METER_OIL_STD | VOLUME_MONTHP | 166 | 166
TOTALFLOWG4/METER_OIL_STD | VOLUME_YESTERDAY | 166 | 166
TOTALFLOWG4/METER_OIL_STD | DISCHARGE_PRESSURE | 291 | 291
TOTALFLOWG4/METER_OIL_STD | PRESSURE | 166 | 166
TOTALFLOWG4/METER_OIL_STD | SHRINK | 166 | 166
TOTALFLOWG4/METER_OIL_STD | TEMPERATURE | 166 | 166
TOTALFLOWG4/METER_OIL_STD | PERMISSIVE | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_01 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_02 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_03 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_04 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_05 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_06 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_07 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_08 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_09 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_10 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_11 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_12 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_13 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_14 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_15 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_16 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_17 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_18 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_19 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_20 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_21 | 166 | 166
TOTALFLOWG4/METER_OIL_SHUTDOWN | REASON_FIRST_IN | 114 | 114
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_GAL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_MAX_FILL_VOL_CC | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | BARRELS_PER_DAY | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | YEST_TOTAL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | 166 | 166
TOTALFLOWG4/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | 166 | 166
EMERSONROCL/DEVICE_STD | BATTERY_VOLTAGE | 613 | 242 | {topic}.3.14.66<TFLP><I1> | {topic}.3.14.66<TFLP><I1> | {topic}.3.14.66<TFLP><I1> | {topic}.3.14.66<TFLP><I1> | {topic}.3.14.66<TFLP><I1>
EMERSONROCL/DEVICE_STD | CURRENT_HOUR | 263 | 263
EMERSONROCL/DEVICE_STD | CURRENT_MINUTE | 263 | 263
EMERSONROCL/DEVICE_STD | RTU_BOARD_TEMPERATURE | 548 | 240 | {topic}.3.14.69<TFLP><I1> | {topic}.3.14.69<TFLP><I1> | {topic}.3.14.69<TFLP><I1> | {topic}.3.14.69<TFLP><I1> | {topic}.3.14.69<TFLP><I1>
EMERSONROCL/DEVICE_STD | AIR_SUPPLY_PRESSURE_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | OIL_TEMP_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | PIPELINE_PRESSURE_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | MEASUREMENT_SKID_SUMP | 24 | 24
EMERSONROCL/DEVICE_STD | PRODUCTION_PERMISSIVE | 24 | 24
EMERSONROCL/DEVICE_STD | ROC_LOW_VOLTAGE_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | NO_FLOW_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | OIL_DENSITY_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | DRIVE_GAIN_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | BACK_PRESSURE_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | COMM_FAIL_TO_RTU | 24 | 24
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_OPEN | 24 | 24
EMERSONROCL/DEVICE_STD | ESD_VALVE_NORMALLY_CLOSED | 24 | 24
EMERSONROCL/DEVICE_STD | BSW_ACCUM_ALARM | 24 | 24
EMERSONROCL/DEVICE_STD | TEMPERATURE | 1 | 1
EMERSONROCL/METER_GAS_STD | RATE | 1056 | 573 | {topic}.114.0.1<TFLP><I1> | {topic}.116.0.2<TFLP><I1> | {topic}.10.3.2<TFLP><I1> | {topic}.114.0.1<TFLP><I1> | {topic}.114.0.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY | 1005 | 574 | {topic}.114.1.1<TFLP><I1> | {topic}.10.4.2<TFLP><I1> | {topic}.114.1.1<TFLP><I1> | {topic}.114.1.2<TFLP><I1> | {topic}.114.1.3<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_TODAY | 1035 | 243 | {topic}.114.29.1<TFLP><I1> | {topic}.116.22.2<TFLP><I1> | {topic}.47.46.2<TFLP><I1> | {topic}.114.29.1<TFLP><I1> | {topic}.114.29.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | ENERGY_YESTERDAY | 1038 | 243 | {topic}.114.30.1<TFLP><I1> | {topic}.116.23.2<TFLP><I1> | {topic}.47.47.2<TFLP><I1> | {topic}.114.30.1<TFLP><I1> | {topic}.114.30.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_TODAY | 1040 | 243 | {topic}.114.19.1<TFLP><I1> | {topic}.116.12.2<TFLP><I1> | {topic}.47.36.2<TFLP><I1> | {topic}.114.19.1<TFLP><I1> | {topic}.114.19.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLUME_YESTERDAY | 1058 | 243 | {topic}.114.20.1<TFLP><I1> | {topic}.116.13.2<TFLP><I1> | {topic}.47.37.2<TFLP><I1> | {topic}.114.20.1<TFLP><I1> | {topic}.114.20.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | DIFFERENTIAL_PRESSURE | 971 | 575 | {topic}.113.26.1<TFLP><I1> | {topic}.10.0.2<TFLP><I1> | {topic}.113.26.1<TFLP><I1> | {topic}.113.26.2<TFLP><I1> | {topic}.113.26.3<TFLP><I1>
EMERSONROCL/METER_GAS_STD | STATIC_PRESSURE | 1055 | 574 | {topic}.113.28.1<TFLP><I1> | {topic}.115.2.2<TFLP><I1> | {topic}.10.1.2<TFLP><I1> | {topic}.113.28.1<TFLP><I1> | {topic}.113.28.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | TEMPERATURE | 1042 | 573 | {topic}.113.30.1<TFLP><I1> | {topic}.115.18.2<TFLP><I1> | {topic}.10.2.2<TFLP><I1> | {topic}.113.30.1<TFLP><I1> | {topic}.113.30.2<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VOLTAGE | 85 | 81 | {topic}.52.1.1<TFLP><I1> | {topic}.52.1.1<TFLP><I1> | {topic}.52.1.1<TFLP><I1> | {topic}.52.1.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | CURRENT_HOUR | 417 | 417
EMERSONROCL/METER_GAS_STD | CURRENT_MINUTE | 367 | 367
EMERSONROCL/METER_GAS_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | 15 | 8 | {topic}.110.11.2<TFLP><I1> | {topic}.98.13.7<TFLP><I1> | {topic}.110.11.2<TFLP><I1> | {topic}.110.11.2<TFLP><I1> | {topic}.6.14.1<TFLP><I1>
EMERSONROCL/METER_GAS_STD | VALVE_POSITION | 5 | 2 | {topic}.110.37.1<TFLP><I1> | {topic}.104.12.33<TFLP><I1> | {topic}.17.4.3<TFLP><I1>
EMERSONROCL/METER_GAS_STD | BTU | 8 | 3 | {topic}.112.22.3<TFLP><I1> | {topic}.112.22.5<TFLP><I1> | {topic}.112.22.6<TFLP><I1> | {topic}.112.22.8<TFLP><I1> | {topic}.112.22.4<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | RESET_BSW_OVER_RANGE_ALARM | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_BSW | 132 | 97 | {topic}.103.21.84<TFLP><I1> | {topic}.103.21.84<TFLP><I1> | {topic}.103.21.84<TFLP><I1> | {topic}.103.21.84<TFLP><I1> | {topic}.103.21.84<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_AIR_PSI | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_OIL_TEMP | 132 | 132
EMERSONROCL/METER_OIL_ALARM | OIL_TEMP_HIHI_SETPOINT | 132 | 90 | {topic}.98.20.2<TFLP><I1> | {topic}.98.20.2<TFLP><I1> | {topic}.98.20.2<TFLP><I1> | {topic}.98.20.2<TFLP><I1> | {topic}.98.2.5<TFLP><I1>
EMERSONROCL/METER_OIL_ALARM | CURRENT_PIPELINE_PSI | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_FLOW_RATE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | SUMP_SWITCH | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_ROC_VOLTAGE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_HEARTBEAT | 132 | 132
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_STATUS | 132 | 132
EMERSONROCL/METER_OIL_ALARM | MEASUREMENT_PERMISSIVE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | WES_IOC_LOTO_PERMISSIVE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | LEL_HI | 95 | 95
EMERSONROCL/METER_OIL_ALARM | CURRENT_MEASUREMENT_LEL | 95 | 95
EMERSONROCL/METER_OIL_ALARM | ESD_VALVE_CURRENT_STATE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_MAIN | 132 | 132
EMERSONROCL/METER_OIL_ALARM | LIVE_DENSITY_READING | 132 | 132
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_PERMISSIVE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_LEL | 96 | 96
EMERSONROCL/METER_OIL_ALARM | MAIN_LACT_RUN_STATUS | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CORIOLIS_PRESSURE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | DIVERT_VALVE_STATUS | 132 | 132
EMERSONROCL/METER_OIL_ALARM | PROD_MAIN_LACT_BSW | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CYGNET_DISPLAY_TLP | 132 | 132
EMERSONROCL/METER_OIL_ALARM | BULK_TANK_PRESSURE | 132 | 132
EMERSONROCL/METER_OIL_ALARM | CURRENT_DRIVE_GAIN | 132 | 132
EMERSONROCL/METER_OIL_ALARM | BSW_TOTAL | 132 | 132
EMERSONROCL/METER_OIL_ALARM | LIVE_BSW_READING_TEMP | 35 | 35
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_PERMISSIVE | 35 | 35
EMERSONROCL/METER_OIL_ALARM | PRODUCTION_TEMP_LEL | 35 | 35
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_RUN_STATUS | 35 | 35
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_DIVERT_STATUS | 35 | 35
EMERSONROCL/METER_OIL_ALARM | TEMP_LACT_BSW | 35 | 35
EMERSONROCL/METER_OIL_ALARM | MAIN_ESD_FTC | 10 | 10
EMERSONROCL/METER_OIL_ALARM | TEMP_ESD_FTC | 10 | 10
EMERSONROCL/METER_OIL_STD | DRIVE_GAIN | 189 | 180 | {topic}.98.3.6<TFLP><I1> | {topic}.98.3.6<TFLP><I1> | {topic}.98.6.1<TFLP><I1> | {topic}.98.3.6<TFLP><I1> | {topic}.98.3.6<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLTAGE | 178 | 178
EMERSONROCL/METER_OIL_STD | RATE | 251 | 207 | {topic}.204.106.3<TFLP><I1> | {topic}.204.106.4<TFLP><I1> | {topic}.204.106.5<TFLP><I1> | {topic}.204.105.2<TFLP><I1> | {topic}.204.106.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | DENSITY | 250 | 205 | {topic}.204.21.3<TFLP><I1> | {topic}.204.21.4<TFLP><I1> | {topic}.204.21.5<TFLP><I1> | {topic}.204.21.3<TFLP><I1> | {topic}.204.21.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | RATE_GSV | 764 | 209 | {topic}.204.105.1<TFLP><I1> | {topic}.204.105.1<TFLP><I1> | {topic}.204.105.1<TFLP><I1> | {topic}.204.105.3<TFLP><I1> | {topic}.204.105.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH_GSV | 567 | 522 | {topic}.204.135.3<TFLP><I1> | {topic}.204.135.4<TFLP><I1> | {topic}.204.135.5<TFLP><I1> | {topic}.204.135.3<TFLP><I1> | {topic}.204.135.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP_GSV | 567 | 522 | {topic}.204.141.3<TFLP><I1> | {topic}.204.141.4<TFLP><I1> | {topic}.204.141.5<TFLP><I1> | {topic}.204.141.3<TFLP><I1> | {topic}.204.141.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY_GSV | 566 | 522 | {topic}.204.129.3<TFLP><I1> | {topic}.204.129.4<TFLP><I1> | {topic}.204.129.5<TFLP><I1> | {topic}.204.129.3<TFLP><I1> | {topic}.204.129.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTH | 251 | 207 | {topic}.204.136.3<TFLP><I1> | {topic}.204.136.4<TFLP><I1> | {topic}.204.136.5<TFLP><I1> | {topic}.204.135.2<TFLP><I1> | {topic}.204.136.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_MONTHP | 251 | 207 | {topic}.204.142.3<TFLP><I1> | {topic}.204.142.4<TFLP><I1> | {topic}.204.142.5<TFLP><I1> | {topic}.204.141.2<TFLP><I1> | {topic}.204.142.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_TODAY | 251 | 207 | {topic}.204.124.3<TFLP><I1> | {topic}.204.124.4<TFLP><I1> | {topic}.204.124.5<TFLP><I1> | {topic}.204.123.2<TFLP><I1> | {topic}.204.124.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUME_YESTERDAY | 251 | 207 | {topic}.204.130.3<TFLP><I1> | {topic}.204.130.4<TFLP><I1> | {topic}.204.130.5<TFLP><I1> | {topic}.204.129.2<TFLP><I1> | {topic}.204.130.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | INSTRUMENT_AIR | 177 | 177
EMERSONROCL/METER_OIL_STD | DISCHARGE_PRESSURE | 506 | 297 | {topic}.103.21.90<TFLP><I1> | {topic}.103.21.107<TFLP><I1> | {topic}.103.21.113<TFLP><I1> | {topic}.103.21.107<TFLP><I1> | {topic}.103.21.113<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PRESSURE | 242 | 204 | {topic}.204.33.3<TFLP><I1> | {topic}.204.33.4<TFLP><I1> | {topic}.204.33.5<TFLP><I1> | {topic}.204.33.3<TFLP><I1> | {topic}.204.33.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | SUCTION_PRESSURE | 177 | 177
EMERSONROCL/METER_OIL_STD | SAMPLER_VOLUME | 354 | 353 | {topic}.98.6.23<TFLP><I1>
EMERSONROCL/METER_OIL_STD | TEMPERATURE | 247 | 205 | {topic}.204.34.3<TFLP><I1> | {topic}.204.34.4<TFLP><I1> | {topic}.204.34.5<TFLP><I1> | {topic}.204.34.3<TFLP><I1> | {topic}.204.34.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PERMISSIVE | 179 | 179
EMERSONROCL/METER_OIL_STD | VALVE_POSITION | 182 | 177 | {topic}.110.37.2<TFLP><I1> | {topic}.110.37.3<TFLP><I1> | {topic}.104.16.49<TFLP><I1> | {topic}.104.16.58<TFLP><I1> | {topic}.104.16.57<TFLP><I1>
EMERSONROCL/METER_OIL_STD | NGL_RATE | 9 | 5 | {topic}.204.105.3<TFLP><I1> | {topic}.204.105.4<TFLP><I1> | {topic}.204.105.5<TFLP><I1> | {topic}.204.105.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DRIVE_GAIN | 9 | 2 | {topic}.98.6.10<TFLP><I1> | {topic}.98.6.10<TFLP><I1> | {topic}.98.6.10<TFLP><I1> | {topic}.98.6.10<TFLP><I1> | {topic}.98.6.10<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_RATE | 37 | 9 | {topic}.204.105.2<TFLP><I1> | {topic}.204.105.2<TFLP><I1> | {topic}.204.105.2<TFLP><I1> | {topic}.204.105.3<TFLP><I1> | {topic}.204.105.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_DENSITY | 9 | 8 | {topic}.202.10.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | MASS_RATE | 60 | 8 | {topic}.204.108.5<TFLP><I1> | {topic}.204.108.6<TFLP><I1> | {topic}.204.108.2<TFLP><I1> | {topic}.204.108.4<TFLP><I1> | {topic}.204.108.5<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTH | 16 | 13 | {topic}.204.135.3<TFLP><I1> | {topic}.204.135.3<TFLP><I1> | {topic}.204.135.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_YESTERDAY | 19 | 13 | {topic}.204.129.3<TFLP><I1> | {topic}.204.129.4<TFLP><I1> | {topic}.204.129.3<TFLP><I1> | {topic}.203.55.3<TFLP><I1> | {topic}.203.55.5<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_PRESSURE | 9 | 8 | {topic}.204.33.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PIPEPLINE_CONDENSATE_PRESSURE | 11 | 3 | {topic}.103.21.44<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.44<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_TEMPERATURE | 9 | 8 | {topic}.204.34.2<TFLP><I1>
EMERSONROCL/METER_OIL_STD | VOLUMETRIC_FLOW_RATE_SETPOINT | 8 | 2 | {topic}.110.11.3<TFLP><I1> | {topic}.110.11.16<TFLP><I1> | {topic}.110.11.17<TFLP><I1> | {topic}.110.11.3<TFLP><I1> | {topic}.110.11.4<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_MODE | 8 | 2 | {topic}.110.22.3<TBIN><I1> | {topic}.110.22.16<TBIN><I1> | {topic}.110.22.17<TBIN><I1> | {topic}.110.22.3<TBIN><I1> | {topic}.110.22.4<TBIN><I1>
EMERSONROCL/METER_OIL_STD | ACCUMULATOR_OIL | 49 | 5 | {topic}.204.148.6<TFLP><I1> | {topic}.204.148.2<TFLP><I1> | {topic}.204.148.4<TFLP><I1> | {topic}.204.148.6<TFLP><I1> | {topic}.204.148.7<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_CV_READ | 4 | 1 | {topic}.110.37.2<TFLP><I1> | {topic}.110.37.2<TFLP><I1> | {topic}.110.37.5<TFLP><I1>
EMERSONROCL/METER_OIL_STD | PID_TARGET_SP_PRIMARY | 3 | 1 | {topic}.110.11.3<TFLP><I1> | {topic}.110.11.5<TFLP><I1>
EMERSONROCL/METER_OIL_STD | CONDENSATE_VOLUME_MONTHP | 12 | 9 | {topic}.204.141.3<TFLP><I1> | {topic}.204.141.3<TFLP><I1> | {topic}.204.141.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | STATIC_PRESSURE | 9 | 6 | {topic}.204.33.3<TFLP><I1> | {topic}.204.33.3<TFLP><I1> | {topic}.204.33.3<TFLP><I1>
EMERSONROCL/METER_OIL_STD | FLOWING_GAS_TEMPERATURE | 6 | 4 | {topic}.204.34.3<TFLP><I1> | {topic}.204.34.3<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | DESIRED_YZ_SAMPLER_FILL | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | BARRELS_PER_DAY | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | NUM_SAMPLING_DAYS_IN_MONTH | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | BITE_SIZE_PER_PULSE | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_DURATION | 161 | 160 | {topic}.111.5.3<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | REQUIRED_CC_PER_DAY | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | PUMP_STROKES_PER_DAY | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | SAMPLE_BITE_FREQUENCY | 161 | 160 | {topic}.111.4.3<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_N2_LEAK | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_50 | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_OVER_80 | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | YZ_SAMPLER_NOT_FILLING | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | YZ_N2_PSI_BELOW_PIPELINE_PSI | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_FULL_CC | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_PERCENT_FULL | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLER_ACCUMULATOR | 161 | 133 | {topic}.102.9.67<TFLP><I1> | {topic}.102.9.84<TFLP><I1> | {topic}.102.9.84<TFLP><I1> | {topic}.102.9.84<TFLP><I1> | {topic}.102.9.84<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_BITE_SIZE | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | VOLUME_INFO_SAMPLE_RESET_BUTTON | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_ENABLED | 161 | 160 | {topic}.111.0.3<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_AND_CORIOLIS | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_NITROGEN_PSI_WHEN_SAMP | 161 | 134 | {topic}.96.2.5<TFLP><I1> | {topic}.96.2.1<TFLP><I1> | {topic}.96.2.1<TFLP><I1> | {topic}.96.2.5<TFLP><I1> | {topic}.96.2.1<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_CURRENT_NITROGEN_PRESS | 161 | 132 | {topic}.103.21.89<TFLP><I1> | {topic}.103.21.81<TFLP><I1> | {topic}.103.21.100<TFLP><I1> | {topic}.103.21.114<TFLP><I1> | {topic}.103.21.114<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_PIPELINE_PRESSURE | 161 | 134 | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1> | {topic}.103.21.35<TFLP><I1>
EMERSONROCL/METER_OIL_SAMPLER | PREV_MONTH_TOTAL | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | YEST_TOTAL | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_MONTH_TOTAL | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | CURRENT_FLOW_RATE | 161 | 161
EMERSONROCL/METER_OIL_SAMPLER | TEST_FIRE_SAMPLER | 161 | 132 | {topic}.102.10.84<TBIN><I1> | {topic}.102.10.84<TBIN><I1> | {topic}.102.10.84<TBIN><I1> | {topic}.102.10.84<TBIN><I1> | {topic}.102.10.84<TBIN><I1>
EMERSONROCL/METER_OIL_SAMPLER | TROUBLESHOOT_INFO_YZ_SAMPLER_DISABLED | 3 | 2 | {topic}.111.0.3<TBIN><I1>
EMERSONROCL/METER_O2 | VOLUME_YESTERDAY | 177 | 11 | {topic}.47.37.1<TFLP><I1> | {topic}.47.37.1<TFLP><I1> | {topic}.47.37.1<TFLP><I1> | {topic}.47.37.1<TFLP><I1> | {topic}.47.37.1<TFLP><I1>
EMERSONROCL/METER_O2 | LIQUID_DETECTED | 16 | 14 | {topic}.1.2.14<TBIN><I1> | {topic}.1.2.13<TBIN><I1>
EMERSONROCL/METER_O2 | O2_PPM | 8 | 1 | {topic}.3.14.9<TFLP><I1> | {topic}.103.21.33<TFLP><I1> | {topic}.103.21.33<TFLP><I1> | {topic}.98.1.9<TFLP><I1> | {topic}.3.14.9<TFLP><I1>
EMERSONROCL/METER_O2 | PRESSURE | 1 | 1
EMERSONROCL/VALVE | REVERSE_FLOW | 217 | 217
EMERSONROCL/VALVE | VOLTAGE | 210 | 210
EMERSONROCL/VALVE | VALVE_STATUS | 8 | 1 | {topic}.102.8.81<TUINT8><I1> | {topic}.101.3.67<TUINT8><I1> | {topic}.2.3.44<TUINT8><I1> | {topic}.2.3.45<TUINT8><I1> | {topic}.2.3.12<TUINT8><I1>
EMERSONROCL/SHUTDOWN | SHUTDOWN_02 | 17 | 17
EMERSONROCL/SHUTDOWN | SHUTDOWN_03 | 17 | 17
EMERSONROCL/SHUTDOWN | SHUTDOWN_04 | 17 | 17
EMERSONROCL/ANALYSIS_STD | METHANE | 26 | 11 | {topic}.112.28.3<TFLP><I1> | {topic}.112.28.6<TFLP><I1> | {topic}.112.28.3<TFLP><I1> | {topic}.112.28.3<TFLP><I1> | {topic}.98.8.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ETHANE | 26 | 11 | {topic}.112.29.3<TFLP><I1> | {topic}.112.29.6<TFLP><I1> | {topic}.112.29.3<TFLP><I1> | {topic}.112.29.3<TFLP><I1> | {topic}.98.10.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PROPANE | 26 | 11 | {topic}.112.30.3<TFLP><I1> | {topic}.112.30.6<TFLP><I1> | {topic}.112.30.3<TFLP><I1> | {topic}.112.30.3<TFLP><I1> | {topic}.98.2.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | HEXANE | 26 | 11 | {topic}.112.35.3<TFLP><I1> | {topic}.112.35.6<TFLP><I1> | {topic}.112.35.3<TFLP><I1> | {topic}.112.35.3<TFLP><I1> | {topic}.98.1.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | CARBON_DIOXIDE | 26 | 11 | {topic}.112.27.3<TFLP><I1> | {topic}.112.27.6<TFLP><I1> | {topic}.112.27.3<TFLP><I1> | {topic}.112.27.3<TFLP><I1> | {topic}.98.9.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_BUTANE | 26 | 11 | {topic}.112.32.3<TFLP><I1> | {topic}.112.32.6<TFLP><I1> | {topic}.112.32.3<TFLP><I1> | {topic}.112.32.3<TFLP><I1> | {topic}.98.3.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | ISO_PENTANE | 26 | 11 | {topic}.112.34.3<TFLP><I1> | {topic}.112.34.6<TFLP><I1> | {topic}.112.34.3<TFLP><I1> | {topic}.112.34.3<TFLP><I1> | {topic}.98.5.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | NITROGEN | 26 | 11 | {topic}.112.26.3<TFLP><I1> | {topic}.112.26.6<TFLP><I1> | {topic}.112.26.3<TFLP><I1> | {topic}.112.26.3<TFLP><I1> | {topic}.98.7.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | BUTANE | 26 | 11 | {topic}.112.31.3<TFLP><I1> | {topic}.112.31.6<TFLP><I1> | {topic}.112.31.3<TFLP><I1> | {topic}.112.31.3<TFLP><I1> | {topic}.98.4.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | PENTANE | 26 | 11 | {topic}.112.33.3<TFLP><I1> | {topic}.112.33.6<TFLP><I1> | {topic}.112.33.3<TFLP><I1> | {topic}.112.33.3<TFLP><I1> | {topic}.98.6.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | SPECIFIC_GRAVITY | 26 | 11 | {topic}.112.23.3<TFLP><I1> | {topic}.112.23.6<TFLP><I1> | {topic}.112.23.3<TFLP><I1> | {topic}.112.23.3<TFLP><I1> | {topic}.98.12.3<TFLP><I1>
EMERSONROCL/ANALYSIS_STD | WOBBE_INDEX | 2 | 1 | {topic}.98.14.16<TFLP><I1>
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | VOLTAGE | 52 | 52
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | LEVEL_ALARM_HIGH_HIGH | 52 | 52
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TANK_LEVEL | 52 | 52
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | PRESSURE | 52 | 52
MODBUS/ICHEM_SOLAR_CHEMICAL_INJECTION | TEMPERATURE | 52 | 52
TOTALFLOWG4/METER_GAS_STD | VOLTAGE | 2 | 2
TOTALFLOWG4/METER_GAS_STD | STATIC_PRESSURE | 436 | 1 | {topic}.4:3:0:R4<I1> | {topic}.4:3:0:R4<I1> | {topic}.4:3:0:R4<I1> | {topic}.4:3:0:R4<I1> | {topic}.4:3:0:R4<I1>
TOTALFLOWG4/METER_GAS_STD | TEMPERATURE | 436 | 1 | {topic}.4:3:3:R4<I1> | {topic}.4:3:3:R4<I1> | {topic}.4:3:3:R4<I1> | {topic}.4:3:3:R4<I1> | {topic}.4:3:3:R4<I1>
TOTALFLOWG4/METER_GAS_STD | RATE | 435 | 435
TOTALFLOWG4/METER_GAS_STD | ENERGY | 434 | 233 | {topic}.4:3:73:R4<I1> | {topic}.4:3:73:R4<I1> | {topic}.4:3:73:R4<I1> | {topic}.4:3:73:R4<I1> | {topic}.4:3:73:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_TODAY | 435 | 233 | {topic}.4:3:96:R4<I1> | {topic}.4:3:71:R4<I1> | {topic}.4:3:71:R4<I1> | {topic}.4:3:96:R4<I1> | {topic}.4:3:96:R4<I1>
TOTALFLOWG4/METER_GAS_STD | ENERGY_YESTERDAY | 435 | 240 | {topic}.4:3:72:R4<I1> | {topic}.4:3:72:R4<I1> | {topic}.4:3:72:R4<I1> | {topic}.4:3:72:R4<I1> | {topic}.4:3:72:R4<I1>
TOTALFLOWG4/METER_GAS_STD | VOLUME_TODAY | 435 | 435
TOTALFLOWG4/METER_GAS_STD | VOLUME_YESTERDAY | 435 | 435
TOTALFLOWG4/METER_GAS_STD | CURRENT_HOUR | 430 | 430
TOTALFLOWG4/METER_GAS_STD | CURRENT_MINUTE | 430 | 430
TOTALFLOWG4/METER_GAS_STD | DIFFERENTIAL_PRESSURE | 435 | 435
TOTALFLOWG4/VALVE | BATTERY_VOLTAGE | 52 | 42 | {topic}.10:7:0:R4<I1> | {topic}.10:7:0:R4<I1> | {topic}.10:7:0:R4<I1> | {topic}.10:7:0:R4<I1> | {topic}.10:7:0:R4<I1>
TOTALFLOWG4/VALVE | PRESSURE | 139 | 29 | {topic}.7:4:0:R4<I1> | {topic}.7:4:1:R4<I1> | {topic}.7:4:0:R4<I1> | {topic}.7:4:1:R4<I1> | {topic}.7:4:0:R4<I1>
TOTALFLOWG4/VALVE | BATTERY_LOW | 50 | 48 | {topic}.9:5:22:UI1<I1> | {topic}.9:5:22:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_CLOSE | 51 | 49 | {topic}.9:5:26:UI1<I1> | {topic}.9:5:26:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_FAIL_TO_OPEN | 51 | 49 | {topic}.9:5:27:UI1<I1> | {topic}.9:5:27:UI1<I1>
TOTALFLOWG4/VALVE | STATUS | 47 | 45 | {topic}.9:5:23:UI1<I1> | {topic}.9:5:23:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_CLOSED | 50 | 48 | {topic}.9:5:25:UI1<I1> | {topic}.9:5:25:UI1<I1>
TOTALFLOWG4/VALVE | VALVE_OPENED | 51 | 49 | {topic}.9:5:24:UI1<I1> | {topic}.9:5:24:UI1<I1>
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_HOUR | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | CURRENT_MINUTE | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | TIMER | 6 | 6
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LONG_TRIGGER_UP_ALARM | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_IN_BARREL_SP | 6 | 6
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | AUTO_MAN | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | LAUNCHER_MODE | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | NUM_PIGS_REMAINING | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PERMISSIVE | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | EMPTY_BARREL_SHUTDOWN | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | STATUS | 3 | 3
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_ALARM | 1 | 1
ALLEN_BRADLEY/PIG_LAUNCHER_DF1 | PIG_SIGNAL_COUNTER | 1 | 1
TOTALFLOWG4/METER_O2 | O2_PPM | 3 | 2 | {topic}.241:201:0:R4<I1>
TOTALFLOWG4/METER_O2 | LIQUID_DETECTED | 1 | 1
TOTALFLOWG4/METER_O2 | PRESSURE | 1 | 1
TOTALFLOWG4/METER_O2 | RESET | 1 | 1
TOTALFLOWG4/METER_O2 | PERMISSIVE | 1 | 1